## Sheet1
Group | Command | Description | JSON Command
Test | TEST | Sends the string “TEST\n” back. | N/A
Test | WRD<0x12><0x4d>, ACK | Responds with a weather station type that is backward compatible with earlier Davis weather products. | N/A
Test | RXCHECK | Sends the Console Diagnostics report. | console-diagnostics
Test | RXTEST | Moves the console from the “Receiving from” screen to the main current conditions screen. | console-recovery-clear-crc-error-count
Test | VER | Sends the firmware date code as a text string. | firmware-query
Test | RECEIVERS | Sends the bit map of station IDs that the console can hear, This is not the byte for indicating what the console selects to listen from.
Test | NVER | Sends the firmware version number as a text string. This command is only supported by Vantage Pro2 (Firmware 1.90 or later) and Vantage Vue. | firmware-query
Current Data | LOOP <number of LOOP packets to send-decimal> | Sends the specified number of LOOP packets, 1 every 2 seconds. Console sleeps between packets. | N/A
Current Data | LPS <loop packet type bit mask-hex> <number of packets to send-decimal> | Sends the specified number of the different loop packet(s), 1 every 2 seconds. Console sleeps between packets. | N/A
Current Data | HILOWS | Sends all the current high/low data in a single 436 byte data block, plus 2 CRC bytes. | query-hilows
Current Data | PUTRAIN <Yearly Rain in rain clicks-decimal> | Set the Yearly rainfall amount on the Vantage Console. | put-year-rain
Current Data | PUTET <Yearly ET in 100th inch-decimal> | Set the Yearly ET amount on the Vantage Console. | put-year-et
Download | DMP | Downloads the entire archive memory. See the sections X.6 and X.4 for more details. | N/A
Download | DMPAFT | Downloads the records after a specified date and time. See the sections X.6 and X.4 for more details. | N/A
EEPROM | GETEE | Reads the full 4K EEPROM in one data block.
EEPROM | EEWR <EE address-hex> <EE data-hex> | Writes one byte of data to the specified address in the EEPROM.
EEPROM | EERD <EE address-hex> <number of bytes to read-hex> | Reads the specified number of bytes starting at the specified address. Results are given as hex strings, one byte per line.
EEPROM | EEBWR <EE address-hex> <number of bytes to write-hex> | Writes data to the EEPROM. The data and CRC are given in binary format following an ACK response.
EEPROM | EEBRD <EE address-hex> <number of bytes to read-hex> | Reads data from the EEPROM. The data and CRC are given in binary format following an ACK response.
Calibration | CALED | Sends a block of data with the current temperature and humidity values for setting calibration values.
Calibration | CALFIX | Updates the display when calibration numbers have been changed.
Calibration | BAR=<bar value to display (in Hg * 1000)-decimal> <elevation (ft)-decimal> | Sets the elevation and barometer offset values when setting the barometer for a new location.
Calibration | BARDATA | Displays of the current barometer calibration parameters in text.
Clearing | CLRLOG | Clears the archive data. | clear-console-archive
Clearing | CLRALM | Clears all the alarm thresholds. | clear-alarm-thresholds
Clearing | CLRCAL | Clears all the Temperature and Humidity calibration offsets. | clear-calibration-offsets
Clearing | CLRGRA | Clears all of the graph points on the Vantage console. | clear-graph-points
Clearing | CLRVAR <Data variable-decimal> | Clears a rain or ET data value. | clear-cumulative-values
Clearing | CLRHIGHS <0, 1, or 2> | Clears all of the daily (0), monthly (1), or yearly (2) high values. | clear-high-values, clear-highs
Clearing | CLRLOWS <0, 1, or 2> | Clears all of the daily (0), monthly (1), or yearly (2) low values. | clear-low-values, clear-lows
Clearing | CLRBITS | Clears the active alarm bits. Alarms will be reactivated if the alarm condition is still present. | clear-active-alarms
Clearing | CLRDATA | Clears all current data values to dashes. | clear-current-data
Configuration | BAUD <New baud rate-decimal> | Sets the console to a new baud rate. Valid values are 1200, 2400, 4800, 9600, 14400, and 19200. | N/A
Configuration | SETTIME | Sets the time and date on the Vantage console. Data in a binary format is sent after ACK. | N/A
Configuration | GAIN <Gain State: '0' (off) or '1' (on)> | Sets the gain of the radio receiver. This command is currently not supported in Vantage Pro2. | N/A
Configuration | GETTIME | Retrieves the current time and date on the Vantage console. Data is sent in a binary format. | query-console-time
Configuration | SETPER <Archive interval in minutes-decimal> | Sets the Vantage archive interval. Valid values are (1, 5, 10, 15, 30, 60, and 120). | update-archive-period
Configuration | STOP | Disables the creation of archive records. | stop-archiving
Configuration | START | Enables the creation of archive records, if they have been halted with the STOP command. | start-archiving
Configuration | NEWSETUP | Re-initialize the Vantage console after making certain configuration changes. | N/A
Configuration | LAMPS <Lamp state: '0' (off) or '1' (on)> | Turns the lamps on the Vantage console on or off. | backlight